Services: Vital Signs (Scope Chart)

Below is a general list of personal care services as defined by Home Instead, Inc. This list is not a comprehensive list of services that are included within the scope of non-medical care as defined by Home Instead, Inc. In addition, it is not a comprehensive list of services that are not included within the scope of non-medical care as defined by Home Instead, Inc. Generally, any service that involves an invasive action is beyond our scope of care and therefore prohibited. If you have any questions or don't see a particular service listed, please contact a member of Franchise Standards.

Your CAREGiversSM can assist with vital signs by observing and recording body temperature, pulse rate, blood pressure, respiratory rate and measuring glucose levels under the following circumstances:

- When there's a need to observe and record the client's vital signs to track trends in his/her health. The client provides these outcomes to a physician on a regular basis.

- When there's a need to closely monitor the client's vital signs, compare the outcomes to thresholds provided by a physician and respond when outcomes are outside the thresholds, according to specific written instructions. The responses could involve a change in diet, activity level, exercise, medication or a phone call to a specific party.

- Any instructions for a CAREGiver to follow must be in writing, including outcomes that should result in a call to the office or to 911.

| Type of Personal Care Service | CAREGiver can… | CAREGiver cannot... |
| --- | --- | --- |
| Body Temperature | Take body temperature in the mouth or ear using an oral or tympanic digital thermometer and record the results for the client. | Interpret outcomes and respond without specific instruction. |
| Pulse Rate/Respiratory Rate | Take pulse and respiratory rates and record the results. | Interpret outcomes and respond without specific instruction. |
| Blood Pressure | Take a blood pressure reading and record the outcomes using one of the following devices: - A digital blood pressure monitor or cuff - A sphygmomanometer with stethoscope | - Interpret outcomes and respond without specific instruction. - Home Instead, Inc. limits the use of sphygmomanometer with stethoscope to CAREGivers who are certified in their use. |
| Glucose Levels | Assist with measuring glucose levels by preparing the supplies, reading the monitor, inserting strips in the monitor, discarding the strips and the sharps at the end of the procedure, and recording the readings. Help by steadying a client's hand in order to prick himself/herself. | - Interpret outcomes and respond without specific instruction. - Prick a client. This includes assisting with a clicker or pen device. |